Drinking Water Quality and Compliance

Town Short Form – A Template for Annual Notice to Consumers

(Note:  This short form may be used for communities or waterworks serving a population of less than 5000).

Introduction

The Water Security Agency and the Ministry of Environment requires that at least once each year waterworks owners provide notification to consumers of the quality of water produced and supplied as well as information on the performance of the waterworks in submitting samples as required by a Minister’s Order or Permit to Operate a waterworks.  The following is a summary of the Town of Rosetown’s water quality and sample submission compliance record for the 2025 time period.  This report was completed on February 3, 2026.  Readers should refer to Water Security Agency’s Municipal Drinking Water Quality Monitoring Guidelines, June 2015, EPB 502 for more information on minimum sample submission requirements and the meaning of type of sample.  Permit requirements for a specific waterworks may require more sampling than outlined in the department’s monitoring guidelines.  If consumers need more information on the nature and significance of specific water tests, for example, “what is the significance of Selenium in a water supply”, more detailed information is available from:  http://www.hc-sc.gc.ca/ewh-semt/pubs/water-eau/index_e.html 
.

Water Quality Standards 

Bacteriological Quality



Regular Samples
Regular Samples
  # of Positive Regular

Parameter/Location
Limit


Required

Submitted
  Submitted (%)

Total Coliform 

0 Organisms/100 mL
_____52_______
____52_________  ______0____________

E. coli


0 Organisms/100 mL
_____52_______
____52_________  ______0___________

Background Bacteria
Less than 200/100 mL
_____52_______
____52_________  ______0___________
Water Disinfection – 

Chlorine Residual in Distribution System for Test Results Submitted with Bacteriological Samples


Minimum
Total Chlorine
Free Chlorine
# Tests
# Tests
# Adequate

Parameter
Limit
Residual Range
Residual Range
Required
Submitted
Chlorine (%)
Chlorine
0.1 mg/L free OR


Residual
0.5 mg/L total
__0.79-1.99___
_0.64-1.71___
__52____
__52_____
_100_________

Water Disinfection - Free Chlorine Residual for Water Entering Distribution System from Waterworks Records-From Water Treatment Plant Records



Test Level
# Tests                # Tests Not Meeting

Parameter
Limit (mg/L)
Range
Performed          Requirements

Free Chlorine Residual
at least 0.1
_0.90-1.81___
_365_____     __0________

A minimum of 0.1 milligrams per litre (mg/L) free chlorine residual is required for water entering the distribution system.  Tests are normally performed on a daily basis by the waterworks operator and are to be recorded in operation records.  This data includes the number of free chlorine residual tests performed, the overall range of free chlorine residual (highest and lowest recorded values) and the number of tests and percentage of results not meeting the minimum requirement of 0.1 mg/L free chlorine residual.

Turbidity – From Water Treatment Plant Records

Parameter
Limit
Test Level
# Tests Not Meeting
Maximum
# Tests           # Tests

# Tests


(NTU) 
Range
Requirements
Turbidity (NTU)
Required        Performed
Performed

Turbidity
_1.0___
_0.06-0.67_
______0__________
_0.67______
_720____       __720_____
____________

Chemical – Health Category 

All waterworks serving less than 5000 persons are required to submit water samples for SE’s Chemical Health category once every 2 years.  The Chemical Health category includes analysis for arsenic, barium, boron, cadmium, chromium, fluoride, lead, nitrate, selenium and uranium.

The last sample for Chemical Health analysis was submitted on January 19,2026.  Sample results indicated that the provincial drinking water quality standards were not exceeded.  (Use this one if review indicates that there were no exceedences).  (OR)  Samples exceeded provincial water quality standards for the following parameters:  (Use only the applicable portions of table below for which values have been exceeded).

Limit
Limit
Sample
# Samples

Parameter
MAC(mg/L)
IMAC (mg/L)
Result(s)
Exceeding Limit

Arsenic
0.010

__0.0004_
________________   * Results expressed

Barium
1.0

_<0.0005_
________________ 
  as average values 

Boron

5.0
_0.55____
________________      for communities or
Bromate
0.01

_________
________________      waterworks that

Cadmium
0.005

_<0.00001_
________________      fluoridate drinking
Chlorate
1.0

_________
________________      water supplies or

Chlorite
1.0

_________
________________      those with elevated

Chromium
0.05

_<0.0005_
________________      concentrations of
Fluoride (avg*)
1.5

___0.21__
________________      fluoride or nitrates.
Lead
0.01

_<0.0001_
________________      
Nitrate (avg.*)
45.0

___0.06___
________________      
Selenium
0.01

_<0.0001_
________________
Uranium
0.02

_0.00012
________________

Chemical – Trihalomethanes (THMs)and Haloacetic Acids (HAAs)
Parameter
THMs

Sample
# Samples
#  Samples


Limit (mg/L)

Result (average) 
Required
Submitted

Trihalomethanes
0.1
_____________      4 (1 every 3 months)
__________
Haloacetic Acids
    0.08

    _____________     4 (1 every 3 months)
       __________

Note:  Only water supplies derived from surface water or groundwater under the influence of surface water are required to monitor for THMs and HAAs.  Waterworks using groundwater sources beyond the influence of surface water do not need to report THMs or HAAs since sampling/analysis will not likely have been performed unless otherwise noted in the waterworks permit to operate
General Chemical 



Aesthetic 

Sample Results
# Samples  # Samples


Parameter
Objectives * (mg/L)
(average)
Required     Submitted

Alkalinity
500
__283________
________ 
_________
 

Bicarbonate
No Objective
__345________
________
_________


Calcium
No Objective
__1.3_________
________
_________
 

Carbonate
No Objective
__<1_________
________
_________
 

Chloride
250
__17_________ 
________
_________        

Conductivity
No Objective
__1080________
________
_________


Hardness
800
__78_________
________
_________

Magnesium
200
__11.0__________
________ 
_________

PH
No Objective
__7.2________
________
_________

Sodium
300
__208________
________
 ________

Sulphate
500
__210________ 
________ 
_________

Total dissolved     


Solids                   1500
                         ___686_______   ________      _________

All waterworks serving less than 5000 persons are required to submit water samples for SE’s General Chemical category once every two years if a ground water source and once per three months every second year if a surface water or blended surface/groundwater source.  The General Chemical category includes analysis for alkalinity, bicarbonate, calcium, carbonate, chloride, conductivity, hardness (as CaCO3), magnesium, sodium, sulphate and total dissolved solids.

*Objectives apply to certain characteristics of or substances found in water for human consumptive or hygienic use.  The presence of these substances will affect the acceptance of water by consumers and/or interfere with the practice of supplying good quality water.  Compliance with drinking water aesthetic objectives is not mandatory as these objectives are in the range where they do not constitute a health hazards.  The aesthetic objectives for several parameters (including hardness as CaCO3, magnesium, sodium and total dissolved solids) consider regional differences in drinking water sources and quality.

More information on water quality and sample submission performance may be obtained from:


Town of Rosetown


Box 398


Rosetown, SK  S0L 2V0


P: (306) 882-2214, F (306) 882-3166, E info@rosetown.ca
[image: image1.jpg]Saskatchewan
Ministry of
Environment




                                                                          [image: image2.jpg]Water Securtty
Agency

O



                   

[image: image1.jpg][image: image2.jpg]